A Nationwide study of Artificial Intelligence in Adenoma Detection: Interim results from NAIAD trial

Introduction:

The detection and resection of adenomatous polyps during colonoscopy decreases the incidence of colorectal cancer and associated mortality, with adenoma detection rate (ADR) a key performance indicator. While higher ADR is associated with lower post-colonoscopy colorectal cancer rates, the latter varies significantly across the UK and the true ‘baseline’ ADR is unknown. Meeting the rising demand for high quality colonoscopy is a significant challenge, but the emergence of AI presents a potential solution. The use of computer assisted detection (CADe) is associated with an improvement in ADR across multiple clinical trials, but real-world performance data is lacking. We sought to evaluate the effect on adenoma detection of implementing CADe in a ‘real-world’ setting, in the largest such study to date.

Method:

This was a randomised, stepped-wedge, open-label trial, using the GI Genius™ (GIG) module, powered to measure the site effect of CADe. A mix of District General Hospitals (DGH) and Teaching Hospitals (TH) were included, with an emphasis on ‘non-expert’ colonoscopists (lifetime colonoscopy <2000). ‘Expert’ colonoscopists were eligible (lifetime colonoscopy >2000 and ADR>40%).

Data collection was divided into three, 3-month phases:  phase 1, baseline data collection with no CADe; phase 2, the intervention phase, GIG-CADe was active; phase 3, GIG-CADe was removed.

Data will be forthcoming from 29 hospitals (England, Scotland, and Wales), n=124 colonoscopists and n>5000 patients, but we report herein results from the first 8 sites to complete the trial.

All patients undergoing routine (non-BCSP) colonoscopy were eligible, but colonoscopy for polyp or IBD surveillance were excluded.

Results:

Across the 8 sites involved (2 TH), 34 endoscopists (64.7% non-expert vs 35.3% expert) and 1418 patients (56.4±16.9 years; 49.5% female) were eligible for analysis. Comparative results through the three study phases are reported in Table 1. When adjusted for bowel preparation and the endoscopists’ experience, there was a 9.53% increase in ADR in the CADe group (r2 = 0.16; p = 0.01).

Conclusion:

NAIAD is the largest trial of CADe to date and, in this interim analysis, establishes a baseline ADR of approximately 27.0%. The use of GIG-CADe is associated with a significant increase in ADR, but this returns to baseline when the device is switched off. Further analysis of our result will inform the implementation of CADe in routine practice.

| Table 1: The distribution of ADR across the three phases |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Phase 1 (%) | Phase 2 (%) | Phase 3 (%) | P-Value |
| Average site | 27.6±8.2 | 35.0±7.8 | 25.8±8.0 | 0.04 |
| Average endoscopist | 27.0±18.0 | 36.0±18.0 | 26.0±16.0 | 0.04 |
| DGH | 27.1±9.7 | 38.5±3.2 | 28.0±7.6 | 0.01 |
| TH | 28.9±2.3 | 24.4±9.1 | 19.4±6.9 | 0.29 |
| Non-expert | 19.0±14.1 | 35.2±17.2 | 22.8±12.5 | <0.01 |
| Expert | 40.0±17.0 | 36.5±20.5 | 31.1±19.5 | 0.46 |
| Male endoscopist | 30.5±22.3 | 28.6±19 | 25.4±17.6 | 0.77 |
| Female endoscopist | 23.7±14.3 | 41.3±15.8 | 26.0±14.2 | <0.01 |